## Slide 1: Automated Tumor Burden Assessment from CT-scans Thomas Bengtsson Skander Jemaa, Rick Carano, Jill Fredrickson, Shelby Wyatt, Tina Nielsen, Alex de Crespigny Genentech/Roche BBSW, Nov 8, 2019

## Slide 2
A Revolution at the Interface of Radiology and AI
Deep Learning
Diagnostic Radiology
http://www.image-net.org/
Notes: In the past several years there has been the beginnings of a revolution in the field of diagnostic radiology as machine learning methods, trained to recognized everyday images such as in the Image NET challenges, have been applied to detect pathology in standard medical images.
For example , already seeing FDA clearance for AI based diagnostic aids..
Viz AI -automated detection of LVO for early warning to stroke teams based on head CT
QuantX – breast cancer diagnosis aid using MRI
The fact is that some of these AI based diagnostic tools already perform as well as or better than the average radiologist in specific circumstances, and we believe that our applications in drug development represent such special cases
And this is just the beginning..

## Slide 3
What does all this mean for drug development?
Radiographic endpoints are a standard part of many of our trials, especially in oncology..
Heme: FDG PET/CT
Metabolic Response by Cheson or Lugano criteria
Automation: faster, cheaper, more reliable
Better endpoints, patient selection
New approvable endpoints, real-world impact
Current paradigm is central image review, with adjudication rates 10--60%
Solid tumors: Diagnostic CT
Objective response, PFS by RECIST 1.1
Notes: Combine slide 4 and 5
PET/CT for response assessment in hematology studies
Complete metabolic response by Cheson or Lugano criteria
CT scans for solid tumors
objective response rate of progression free survival based on Response Evaluation Criteria In Solid Tumors v1.1
Current paradigm uses manual assessments by teams of radiologist at major image review facilities or reading centers; aside from the significant cost, its well known that experienced radiologists disagree with each other up to 60% or more of the time (GNE trial data) with average adjudication rate ~30-50%
plenty of room for improvement by including AI into radiographic assessment
At the very least – automation of these endpoints will save time and money and hopefully prove more reliable
Beyond that, what's most exciting the potential for AI techniques to extract more information from these images than just how big the tumor is. For example, recent literature suggests its possible to infer tumor T cell infiltration and response immune checkpoint inhibition from standard imaging (Sun, Lancet Oncology 2018).
This sort of approach could lead to tools to preselect more responsive patient cohorts for trials, or better characterize response patterns as a more sensitive readout for dug effect.
Ultimately I think this will be able to speed our drugs to approval as well as help physicians to better match patients to therapies.
Anyway, this is where we’d like to go, this is where we are now.. hand off to Thomas.

## Slide 4: Auto CT Project Overview
Background:
  Computed Tomography - Response Evaluation Criteria In Solid Tumors (CT-RECIST)
    Radiological standard method to quantify treatment response in solid tumors
    Tumor Quantification: Identify up to 5 target lesions (most 2 per organ), Identify up to 10 non-target lesions, quantify longest diameter for target lesions
    Clinical Assessment: Define response (Ex. CR, PR, SD, PD) based on changes in target and non-target lesion btw time points
  CT-RECIST is an FDA accepted clinical trial endpoint for evaluating investigational therapies
Goal: Develop a fully-automated image analysis CT-RECIST algorithm
What is possible?
More informative and robust endpoints for trials
Faster readouts → Replace IRFs,
Tools to help clinicians to select optimal therapies
Notes: Current State -> New State
What is riding on it?

## Slide 5: Automatic tumor burden assessment on FDG-PET
Sparsity of disease (signal <1% body vol.) and lack of specificity of PET uptake relative disease requires multiscale residual learning DL architecture based on pyramidal dilations
Spatial agreement* (trained on Goya, validated on Gallium)
  DICE = 0.89
  Corr. between reader- and predicted TMTV = 0.98
Independent of IPI* (in Goya), a prognostic risk score based on {TMTV>330ml ∩ Bulky disease ∩ Nr. Lesions>12} was an independent predictor of PFS (HR=2.01; CI 1.42-2.86)
The model can process 1000 scans in < 1d
(cf. radiologist ~100 days)
NSCLC pat. w/ ~90 lesions
*Ref: Jemaa et al. (SIIM 2019, ASH 2019)
Notes: Goal of slide: baseline tumor assessment
Focus on correlation, architecture, prognostic value.
Pyramidal dilations for multiscale learning to address sparsity of signal (disease <1% tot volume) and lack of specificity of the PET uptake relative disease

## Slide 6: Automatic tumor burden assessment on CT
Automatic lesion detection & segmentation on CT is a v. difficult problem, especially for advanced stage patients
Results:
For CT-R identified lesions (by radiologist), our full-body model has a voxel-wise sensitivity of 0.89 and a lesion level sensitivity of 0.94
The segmentation achieves a 0.82 Dice Similarity Coefficient.
A cascaded & memory efficient DL model has been designed to delineate tumors in Whole Body CT scans.
Tumor selection problem leads to low inter-reader agreement
  High number of lesions: up to 250
  Substantial fraction of small lesions
Radiologist Model Radiologist Model
Notes: Automatic CT assessment is challenging due to low SNR. Radiologists solve this problem by invoking knowledge and experience regarding normal anatomy, but the machine would need to learn this by studying a large number of examples.
The model for tumor segmentation has been designed to address challenges specific to the signal in Oncology imaging: rarity of the regions of interest, high heterogeneity of the images, large number of structures to be differentiated from disease
DL segmentation models have been designed to address inter-reader variability and sparsity of the regions of interest in a CT. (Delete the part in red please) We use a 2 stage model:
  A first model is used for tumorous regions detection
  Then a probabilistic model generates and averages 16 lesion predictions on the detected regions.

## Slide 7: Cross-functional collaboration on AI and medical imaging
Imaging Science
Statistics
Computer Science
1.
2.
3.
Lots of loops…
Traditional analysis of tabular data…
Analysis of imaging artifacts…
✔ required blend of imaging, CS, & Stats
✔.
Drug development
context
Notes: Message: we can do this: Our secret sauce is our a unique combination of medical and clinical trials know-how, combined with data and computing, imaging, clinical expertise to realize the potential of AI in radiology for drug development.
Collaborations with UC-Berkeley (EECS) and Stanford (AI for Health)
ECOG/LYSA
Acquiring ~15 Ph3 trails for training and validation
In addition to oncology, ongoing AI projects in neuroscience (MS, AD) and respiratory disease